{title}

An investigator-initiated clinical trial

# 1. TITLE PAGE

| Protocol Number | {protocolNumber} |
| --- | --- |
| Amendment Number | Version 1.0 |
| IRB / ERC | {ibrName} {ibrAdress} |
| Sponsor Name & Address | {sponsortName} {sponsortAdress}{fundingSourceClarification}{fundingSourceName}{fundingSourceAdress} |
| Test Articles | {testArticle(s)} |
| Investigator | {investigatorName} |
| {subInvestigatorHas} | {subInvestigatorName} |

# 2. INVESTIGATOR AGREEMENT

I confirm that I have read and that I understand this protocol entitled “{title}” and understand the use of the study products. I agree to conduct this study in accordance with the requirements of this protocol and also protect the rights, safety, privacy, and well-being of study subjects in accordance with the following:

- The ethical principles that have their origin in the Declaration of Helsinki.

- All applicable laws and regulations, including, without limitation, data privacy laws and regulations.

- Regulatory requirements for reporting serious adverse events defined in Section 13 of this protocol.

Signature of Investigator (Date)

{investigatorName}

Investigator Name (print or type)

{investigatorTitle}

Investigator’s Title

{facilityName}

Name of Facility

{facilityLocation}

Location of Facility (City)

# 3. GENERAL INFORMATION

| Objective | {objective} |
| --- | --- |
| Test Article(s) | {testArticle(s)} |
| Control Article(s) | {controlArticle(s)} |
| Sample size | {sampleSize} |
| Study Population | {AI_populationShort} |
| Number of sites | {sitesNumber} |
| Study Design | {studyDesignShort} |
| Masking | {AI_masked} |
| Variables | {AI_variables} |
| Duration/Follw-up | {AI_duration} |

The study will be registered with clinicaltrials.gov.

The study will be conducted in compliance with the protocol, GCP and applicable regulatory requirements

# 4. TABLE OF CONTENTS

1. TITLE PAGE .......................................................................... 1

2 . INVESTIGATOR AGREEMENT ............................................................. 2

3. GENERAL INFORMATION ................................................................. 3

5. INTRODUCTION ........................................................................ 6

6. OBJECTIVE(S) ........................................................................ 6

7. SUBJECTS ............................................................................ 6

7.1. Subject Population ................................................................ 6

7.2. Inclusion Criteria ................................................................ 6

7.3. Exclusion Criteria ................................................................ 6

8. STUDY DESIGN ........................................................................ 6

8.1. Study Design ...................................................................... 6

8.2. Methods Used to Minimize Bias ..................................................... 6

9. STUDY PROCEDURE ..................................................................... 6

9.1. Informed Consent / Subject enrollment ............................................. 6

9.2. Visits and Examinations ........................................................... 7

9.3. Study Methods and Measurements .................................................... 7

9.4. Unscheduled Visits ................................................................ 7

9.5. Discontinued Subjects ............................................................. 7

10. ANALYSIS PLAN ...................................................................... 8

10.1. Analysis Data Sets ............................................................... 8

10.2. Statistical Methodology .......................................................... 8

10.3. General Statistical Considerations ............................................... 8

11. SAMPLE SIZE JUSTIFICATION .......................................................... 8

12. CONFIDENTIALITY/PUBLICATION OF THE STUDY ........................................... 8

13. QUALITY COMPLAINTS AND ADVERSE EVENTS .............................................. 9

13.1. General Information .............................................................. 9

13.2. Monitoring for Adverse Events .................................................... 9

13.3. Procedures for Recording and Reporting AEs and SAEs .............................. 9

13.4. Follow-Up of Adverse Events and Quality Complaints .............................. 12

13.5. Safety Analyses ................................................................. 12

14. GCP, ICH and ETHICAL CONSIDERATIONS ............................................... 13

14.1 Confidentiality .................................................................. 13

15. STANDARD EVALUATION PROCEDURES .................................................... 14

Table 15.1. Proposed Visits and Study Assessments ..................................... 14

16. CONFIDENTIALITY ................................................................... 14

17. FINANCIAL AND INSURANCE INFORMATION/STUDY RELATED INJURIES ........................ 14

18. STUDY ENDPOINT CRITERIA ........................................................... 14

18.1. Patient Completion of Study ..................................................... 14

18.2. Patient Discontinuation ......................................................... 14

18.3. Patient Termination ............................................................. 15

18.4. Study Termination ............................................................... 15

18.5. Study Completion ................................................................ 15

19. SUMMARY OF RISKS AND BENEFITS ..................................................... 15

19.1. Summary of risks ................................................................ 15

19.2. Summary of benefits ............................................................. 15

# 5. INTRODUCTION

{AI_introduction}

# 6. OBJECTIVE(S)

{objective}

# 7. SUBJECTS

## 7.1. Subject Population

{AI_populationLong}

## 7.2. Inclusion Criteria

Inclusion Criteria:

{AI_inclusionCriteria}

## 7.3. Exclusion Criteria

Exclusion Criteria:

{AI_exclusionCriteria}

# 8. STUDY DESIGN

## 8.1. Study Design

{AI_studyDesignLong}

## 8.2. Methods Used to Minimize Bias

{AI_methods}

# 9. STUDY PROCEDURE

## 9.1. Informed Consent / Subject enrollment

No subject will be enrolled into the study who does not meet the inclusion/exclusion criteria and does not sign the current approved informed consent document. Informed consent will be obtained prior to collecting any data for the study. The original signed documents will be maintained by the investigator as a permanent part of the subject's medical records. A signed copy will be provided to the subject.

## 9.2. Visits and Examinations

{AI_visitSchedule}

Table 9.2-1. Visit Schedule

| Visit Number | Visit Name | Visit Window | CRF Number |
| --- | --- | --- | --- |
| {AI_visitNumber} | {AI_visitName} | {AI_visitWindow} | {AI_CRFnumber} |

{AI_visitScheduleDetails}

## 9.3. Study Methods and Measurements

{AI_measurements}

{AI_measurementsDetails}

## 9.4. Unscheduled Visits

Unscheduled exams may be conducted at the discretion of the Investigator with all relevant information from the exam recorded in the source documents and on the Unscheduled Visit pages within the CRF booklet.

## 9.5. Discontinued Subjects

Discontinued subjects are those who do not have an exit visit or who come into the office to be exited prior to the scheduled final study visit. Subjects may be discontinued from the study at any time if, in the opinion of the investigator, their continued participation in the study poses a risk to their health. The reasons for discontinuation include:

a. Adverse event;

b. Lost to follow-up;

c. Subject decision unrelated to an adverse event;

d. Protocol violation;

e. Treatment failure;

f. Other.

To ensure the safety of all subjects who discontinue prior to Visit 7, investigators should assess each subject and, if necessary, advise them of any therapies and/or medical procedures that might be needed to maintain their health. Any changes in medical health and/or use of concomitant medications should also be captured.

# 10. ANALYSIS PLAN

## 10.1. Analysis Data Sets

{AI_analysisDataSets}

## 10.2. Statistical Methodology

{AI_statisticalMethodology}

## 10.3. General Statistical Considerations

{AI_statisticalConsiderations}

# 11. SAMPLE SIZE JUSTIFICATION

{sampleSizeJustification}

# 12. CONFIDENTIALITY/PUBLICATION OF THE STUDY

The existence of this Study is confidential and should not be discussed with persons outside of the Study. Results will be submitted for publication and presentation at national and/or international meetings. A manuscript will be submitted to peer-review journals for publication but there is no guarantee of acceptance.

All study data will be collected on appropriate Case Report Forms (CRFs). No protected health information will be included on the forms. CRFs will be retained in the patient’s file for a minimum period of 3 years. Collected information will only be used for purposes of this study and no information will be sold to third parties. The following people will have access to your study records:

•     Study Doctor and staff involved with the study

•     Study Monitor or Auditor

•     Sponsor Company or Research Institution

•     Review boards or accrediting agencies

•     Other State or Federal Regulatory Agencies

The de-identified data may be shared with other researchers for future analysis.

# 13. QUALITY COMPLAINTS AND ADVERSE EVENTS

All subjects will be monitored for adverse events over the course of the study. A place to record any adverse event is included on each case report form.

## 13.1. General Information

An Adverse Event (AE) is any untoward medical occurrence in a subject who is administered. a study treatment regardless of whether or not the event has a causal relationship with the treatment. An AE, therefore, can be any unfavorable or unintended sign (including an abnormal laboratory finding), symptom, or disease temporally associated with the study treatment, whether or not related to the treatment. In clinical studies, an AE can include an untoward medical occurrence occurring at any time, including run-in or washout periods, even if no study treatment has been administered.

## 13.2. Monitoring for Adverse Events

At each visit, after the subject has had the opportunity to spontaneously mention any problems, the Investigator should inquire about AEs by asking if the patient has any problems.

## 13.3. Procedures for Recording and Reporting AEs and SAEs

Subsequent to signing an informed consent form, all untoward medical occurrences that occur during the course of the study must be documented on an Adverse Event Form (AEF). A separate AEF must be filled out for each event. When possible, signs and symptoms indicating a common underlying pathology should be documented as one comprehensive event. For each recorded event, the AE documentation must include the onset date, outcome, resolution date (if event is resolved), intensity (i.e., severity), any action with study treatment taken as a result of the event, and an assessment of the adverse event’s relationship to the study treatment. 

Nonserious Adverse Events

A nonserious AE is defined as any untoward change in a subject's medical health that does not meet serious criteria noted below (e.g., is not life-threatening, does not require hospitalization, does not prolong a current hospitalization, is not disabling, etc.). All adverse events must be reported regardless of whether or not they are related to the study treatment.

For nonserious adverse events, an AEF containing all available information will be collected on a routine basis and submitted to the Medical Monitor at the close of the study.

Serious Adverse Events

A serious adverse event (SAE) is defined as any adverse experience that meets any of the following criteria:

• Results in death.

• Is life-threatening.

NOTE: Life-threatening means that the subject was at immediate risk of death from the reaction as it occurred; i.e., it does not include a reaction which hypothetically might have caused death had it occurred in a more severe form.

• Requires inpatient hospitalization or prolongation of existing hospitalization.

NOTE: In general, hospitalization signifies that the individual remained at the hospital or emergency ward for observation and/or treatment (usually involving an overnight stay) that would not have been appropriate in the physician's office or an out-patient setting. Complications that occur during hospitalization are AEs. If a complication prolongs hospitalization or fulfills any other serious criteria, the event is serious. When in doubt as to whether “hospitalization” occurred, the event should be considered serious.

• Results in persistent or significant disability/incapacity. Disability is defined as a substantial disruption of a person’s ability to conduct normal life functions.

NOTE: The term disability means a substantial disruption of a person’s ability to conduct normal life functions. This definition is not intended to include experiences of relatively minor medical significance such as uncomplicated headache, nausea, vomiting, diarrhea, influenza, or accidental trauma (e.g., sprained ankle) which may interfere or prevent everyday life functions but do not constitute a substantial disruption.

• It is an important medical event. An important medical event is an event that may not result in death, be life-threatening, or require hospitalization but may be considered  an SAE when, based upon appropriate medical judgment, it may jeopardize the subject and may require medical or surgical intervention to prevent one of the outcomes listed in the definitions for SAEs. Examples of such medical events include allergic bronchospasm requiring intensive treatment in an emergency room or at home, blood dyscrasias or convulsions that do not result in subject hospitalization, or the development of drug dependency or drug abuse.

All available information on a serious adverse event(s) and any other associated AE, if applicable, must be forwarded to the study coordinator for forwarding to the Medical Monitor immediately (i.e., within one working day of the Investigator’s or site’s knowledge of the event) as follows:

- In studies utilizing EDC (electronic data capture), all available information for the SAE and any associated AE(s) must be entered immediately into the EDC system.

- Additional information for any applicable event is to be reported as soon as it becomes available.

In addition to the reporting of serious adverse events to the study Medical Monitor, the SAE must be reported to the IRB / IEC according to their requirements.

The investigator must document all adverse device events (serious and nonserious but related) and all serious adverse events (related and unrelated) on the Adverse Device Effect and Serious Adverse Event Form. Any device quality complaints will also be documented.

• Both the Quality Complaint Form and the Adverse Device Effect and Serious Adverse Event Form must be e-mailed immediately to the study coordinator ({studyCordinatorName}).

• Additional relevant information is to be reported as soon as it becomes available.

• Study coordinator contact information is provided below.

Table 13.3.-1:

Contact Information for Study

| Study Staff | Business Phone | e-mail | 24-hour Office Phone |
| --- | --- | --- | --- |
| {studyCordinatorName} | {studyCordinatorPhone} | {studyCordinatorEmail} | {studyCordinator24Phone} |

Further, depending upon the nature of the adverse event (serious or nonserious) or quality complaint being reported, the study sponsor may request copies of applicable portions of the subject’s medical records. The investigator must also report all adverse events and quality complaints according to the relevant IRB requirements.

12.3.1 Intensity and Causality Assessments

For every adverse event and quality complaint, the investigator must assess the causality as Related or Not Related to the medical device under investigation. An assessment of causality will also be performed by the Medical Monitor utilizing the same definitions, as shown below:

Causality

Related An adverse event or quality complaint classified as related may be either definitely related or possibly related where a direct cause and effect relationship with the medical device has not been demonstrated, but there is a reasonable possibility that the adverse event or quality complaint was caused by the medical device.

Not Related An adverse event or quality complaint classified as not related may either be definitely unrelated or simply unlikely to be related (i.e., there are other more likely causes for the adverse event or quality complaint).

Where appropriate, the investigator must assess the intensity (severity) of the adverse event as mild, moderate, or severe based on medical judgment with consideration of any subjective symptom(s), as defined below:

Intensity (Severity)

Mild An adverse event is mild if the subject is aware of but can easily tolerate the sign or symptom. Moderate An adverse event is moderate if the sign or symptom results in discomfort significant enough to cause interference with the subject’s usual activities. 

Severe An adverse event is severe if the sign or symptom is incapacitating and results in the subject’s inability to work or engage in their usual activities. 

The investigator must document any action taken (i.e., medication, intervention, or treatment plan) and outcome of the adverse event or quality complaint when applicable.

## 13.4. Follow-Up of Adverse Events and Quality Complaints

The investigator is responsible for adequate and safe medical care of subjects during the study and for ensuring that appropriate medical care and relevant follow-up procedures are maintained after the study. Any additional data from these follow-up procedures must be documented and available to the study coordinator who, with the Medical Monitor, will determine when the data need to be documented on the CRFs.

## 13.5. Safety Analyses

The type, severity, duration and frequency of reported ocular adverse events will be tabulated. Adverse events will also be summarized for events that were considered treatment-related.

# 14. GCP, ICH and ETHICAL CONSIDERATIONS

This study will be conducted in compliance with Good Clinical Practices (GCPs), including International Harmonization (ICH) Guidelines, and in general, consistent with the 1996 version of the Declaration of Helsinki. In addition, all applicable local, state and federal requirements will be adhered to.

This study is to be conducted in accordance with Institutional Review Board regulations. The investigator will obtain appropriate IRB/ethics committee approval prior to initiating the study. The study will be registered with clinicaltrials.gov.

## 14.1 Confidentiality

The data collected will be data typical for the procedure(s) when performed on eyes outside the study. Any data collected will become part of the patient’s clinical record.  The data will be subject to the same privacy and confidentiality as other data in the clinical record.

Only the principal investigator, research consultant and clinic staff will have access to the data collected. All data shared outside the practice will be de-identified; patients’ protected health information will not be available and will not be reported in any analyses or publications. No data will be sold to third parties. De-identified data may be used for future research.

# 15. STANDARD EVALUATION PROCEDURES

## Table 15.1. Proposed Visits and Study Assessments

{visitsTable}

# 16. CONFIDENTIALITY

No protected health information (PHI), including the patient’s name and date of birth, will be collected; to ensure this, no PHI information is permitted to be entered on any of the Case Report Forms (CRFs). Subjects will only be identified by subject IDs and identities will be removed at the initial visit so that there is no further need to protect or destroy the information. Collected information will only be used for purposes of this study and no information will be sold to third parties. The non-PHI information collected may be used for future research, though there is currently no plan to do so.

# 17. FINANCIAL AND INSURANCE INFORMATION/STUDY RELATED INJURIES

Every effort to prevent study-related injury will be taken by the Study Doctor and staff. In the event a patient is injured as a direct result of the study while following the Study Doctor’s instructions and the study requirements, the patient will be instructed to contact his or her doctor immediately. The Study Doctor is to treat the injured subject as needed for those injuries caused directly by this research study. In the event of injury or illness caused by or occurring during a subject’s participation in this research study, all charges for medical care provided to the subject will be billed to his or her insurance company.  The Study Doctor or Sponsor does not offer to cover the medical care costs for injuries or illnesses that are not caused directly by the research study. The Sponsor does not offer to provide any other compensation, unless specifically agreed to elsewhere in this document. This information will be provided to each study subject before the start of the study in the consent form.

# 18. STUDY ENDPOINT CRITERIA

## 18.1. Patient Completion of Study

If a study patient has completed the final visit ({totalVisits}) of the study, he/she is considered to have completed the study.

## 18.2. Patient Discontinuation

Each study patient may voluntarily discontinue the study at any time they choose. Study patients who cannot complete the study for administrative reasons (e.g., non-compliance, failure to meet visit schedule, etc.) will be discontinued from the study. Study patients discontinued during the enrollment phase (prior to surgery) of the study will be replaced.

## 18.3. Patient Termination

A study patient will be terminated if the study patient develops any severe adverse event that may be related to the study. A study patient will receive appropriate treatment at the discretion of the investigator. Notification of termination will be clearly documented. These study patients are considered to have completed the study and will not be replaced.

## 18.4. Study Termination

The investigator with appropriate notification may terminate the study. If, after clinical observations, the investigator feels that it may be unwise to continue the study, he may stop the study.

## 18.5. Study Completion

The study will be complete when all enrolled patients have completed Visit {totalVisits} or have been terminated from the study.

# 19. SUMMARY OF RISKS AND BENEFITS

## 19.1. Summary of risks

{AI_risks}

## 19.2. Summary of benefits

{AI_benefits}